## Slide 1: Workshop on programmable instrumentation and measurement uncertainty
Innovative Teaching Approaches in development of Software Designed Instrumentation and its application in real-time systems
Multiplier Event (E4)
Ss. Cyril and Methodius University of Skopje, Faculty of Electrical Engineering and Information Technologies
3rd of September 2019

## Slide 2: Project partners
Innovative Teaching Approaches in development of Software Designed Instrumentation and its application in real-time systems
Faculty of Physics,
Warsaw University of Technology
Zagreb University of
Applied Sciences
Faculty of Technical
Sciences,
University of Novi Sad
Faculty of Electrical Engineering
and Information Technologies,
Ss. Cyril and Methodius
University
School of Electrical
Engineering,
University of Belgrade

## Slide 3: Project scope
Innovative Teaching Approaches in development of Software Designed Instrumentation and its application in real-time systems
Better understanding of measurement techniques and instrumentation
Higher level of LabVIEW programming
Innovative teaching materials
More practical experience in system level development
More experience in Erasmus projects
Organize LabVIEW competition

## Slide 4: Intellectual outputs covered by UKIM
Innovative Teaching Approaches in development of Software Designed Instrumentation and its application in real-time systems
Moodle platform for Virtual instrumentation Real-time Control systems courses
Video materials of lectures
Control, virtual instrumentation and signal processing use cases practicum
Modification of Process measurements course and new book
New master level course Software-defined instrumentation and new book

## Slide 5: E-learning platform
Based on Moodle open-source learning platform
All participating institution lack an e-learning platform
Modified courses, new courses (basic info about course, materials, examples, codes), video material, books and practicums available on the platform
Student will be able to apply for exams and tests via platform
Link to the platform:
    http://itasdi.uns.ac.rs/
Innovative Teaching Approaches in development of Software Designed Instrumentation and its application in real-time systems

## Slide 6: Video materials
Ss. Cyril and Methodius University
Innovative Teaching Approaches in development of Software Designed Instrumentation and its application in real-time systems

## Slide 7: Video materials
Signal conditioning and data acquisition
DAQ Techniques Using LabVIEW
Multisensor system
Direct inductive sensor interface
LabVIEW based app
Virtual Networks SDN and NFV
Innovative Teaching Approaches in development of Software Designed Instrumentation and its application in real-time systems

## Slide 8: Control, virtual instrumentation and signal processing use cases practicum
Ss. Cyril and Methodius University
Innovative Teaching Approaches in development of Software Designed Instrumentation and its application in real-time systems

## Slide 9: Joined practicum
Z. Kokolanski, B. Velkovski
LabVIEW basics and state machines
Variables in LabView, Commonly used design patterns, GPIB
Permanent storage of data using LabVIEW environment
Data acquisition
Practical examples of applications
    Joined practicum
    Smart house
    LabVIEW wind
    Traffic light
Innovative Teaching Approaches in development of Software Designed Instrumentation and its application in real-time systems

## Slide 10: Process measurement course
Ss. Cyril and Methodius University
Innovative Teaching Approaches in development of Software Designed Instrumentation and its application in real-time systems

## Slide 11: Process measurements
New topics and accreditation revision
New book in Process measurements (Z. Kokolanski, V. Dimcev):
  Sensors and transducers
  Signal conditioning
  Approximation, linearization and compensation
  Grounding, guarding and shielding
  Process instrumentation
New laboratory exercises (Lab1)
Virtual instruments for teaching purposes (Gaussian)
Practical examples of applications (e.g. direct and multi-sensor interface)
Innovative Teaching Approaches in development of Software Designed Instrumentation and its application in real-time systems

## Slide 12: Process measurements
Innovative Teaching Approaches in development of Software Designed Instrumentation and its application in real-time systems

## Slide 13: Process measurements
Innovative Teaching Approaches in development of Software Designed Instrumentation and its application in real-time systems

## Slide 14: SENSORS AND SIGNAL CONDITIONING
Smart sensor
Microprocessor
Microprocessor
Passive sensor
Diagnostics, calibration, compensation…

## Slide 15: Direct interface SENSOR-PLD
tch
tx
Vtl
PLD
Po
Pi
Rx
C
Rp
“HZ”
“1”
“0”
“In”
NT0ºtx
f0

## Slide 16
CONSTANTS
CAUSES
INPUT/OUTPUT RESISTANCE
AGING
LEACKAGE CURRENTS
TEMPERATURE
CALIBRATION
Direct interface SENSOR-PLD

## Slide 17: Single point calibration
PLD
Po1
Pi
Rx
C
Po2
Rc
Rp
Vc(t)
t
Vhi
Vtl
tp
tx
tp
tc
GAIN
OFFSET
Video 2
Video 1

## Slide 18: MULTISENSOR SYSTEM
N x N sensors
Low interface connections
Applicable to all calibration techniques
Video

## Slide 19: Software defined and virtual instrumentation
New master level course
New book in Software defined and virtual instrumentation (Z. Kokolanski, T. Suminoski):
  Advanced virtual instrument architectures
  Standard communication interfaces and virtual instrumentation
  Network instrument sharing
  Remote laboratories
  Network virtualization
Practical examples of applications (Instrument communication, vending)
Innovative Teaching Approaches in development of Software Designed Instrumentation and its application in real-time systems

## Slide 20: Software defined and virtual instrumentation
Innovative Teaching Approaches in development of Software Designed Instrumentation and its application in real-time systems

## Slide 21: Software defined and virtual instrumentation
Innovative Teaching Approaches in development of Software Designed Instrumentation and its application in real-time systems

## Slide 22
Process communication
Shared variables
Buffers
Dynamic events
Functional global variables
Real time targets
Notes: I’ve listed some of the commonly used options. It’s important when considering these to be aware of when it’s appropriate to use one over another.
In examining a few of the more prominent options, it is important to consider when it is appropriate to use certain features and the inherent advantages and considerations each feature provides.
To start off with, TCP and UDP VIs available in LabVIEW for users who are interested developing networked applications at a lower-level. This is beneficial for quickly establishing extremely simple data communication, but requires expertise in order to develop any advanced functionality.
Shared variables were introduced in LabVIEW 8.0 in order to make it easy for LabVIEW developers to network distributed LabVIEW applications and communicate with hardware such as NI CompactRIO and NI Compact Field Point. These variables can be dragged and dropped from the project with minimal configuration or development.
Transition
RFP provide the ability to remotely view a LabVIEW interface from a web browser quickly and easily; however, the client requires installation of the run-time engine. Remote Front Panels are probably the most similar in functionality as web services, and therefore we’ll spend a little extra time examining these.
22

## Slide 23
LabVIEW Real time hardware
Single-Board RIO
PXI
Desktop or Industrial PC
LabVIEW Real-Time
CompactRIO
Vision Systems
Notes: National Instruments provides a variety of real-time platforms to deploy to depending on your application needs.
These targets range from highly durable form factors for the harshest of environments, such as CompactRIO to high-performance multi-core industrial computing platforms like PXI.
All, LabVIEW Real-Time targets have access to a wide variety of I/O with ready to run driver software, so that you can get up and running quickly.
23

## Slide 24
Typical communication problems
Racing conditions- two functions are trying to reach a given resource at the same time
Dead time- two or more interlinked processes are waiting for the same resource
Data loss- loss or data discontinuity
Performance reduction- low processing speed due to shared resources
Buffer overflow- writing into buffer faster than the data is read from the resource
Frozen data- continual read of the same data
Notes: Examples of each:
Race condition—two writes to the same shared resource at the same time, cannot be sure which value will be written
Deadlock 1—2 people want to draw a straight line, so they need a ruler and a pencil. One grabs the pencil, the other grabs the ruler. Then they both are waiting for the other to finish using each respective item so that they can have both.
Deadlock 2—two trains pull into a station at the same time, and neither can leave until the other has completely exited the station.
Data loss—watching television from a satellite or antenna feed and the signal gets interrupted
Performance degradation—running multiple processes in the same loop causes a bottleneck where a fast process can only run as fast as the slowest process
Buffer overflows—writing to a buffer faster than data is being read from it. Pouring water into a bucket with a hole at the bottom faster than it can drain out of the hole
Stale data—reading the same value more than once in a streaming application. Data appears to be stair-stepped or digitized on a waveform graph.
24

## Slide 25: Network virtualization
Network virtualization (NV) is the process of combining hardware and software network resources and network functionality into a single, software-based administrative entity, named virtual network framework.
NV=SDN+NFV
The trend beyond software-defined instrumentation is giving engineers unprecedented control over automated test systems and enabling new types of applications.

## Slide 26: SDN introduction
Software-Defined Networking is an emerging network architecture which decouples the network control and forwarding functions enabling the network control to become directly programmable and the underlying infrastructure to be abstracted for applications and network services.
Centralizes command and control in the network
Separates the Control plane from the Data plane and Management plane
Although SDN is a relatively new area, it has attracted much attentions from academia, business and industry.

## Slide 27: SDN Architecture
Software-Defined Networking is an Architecture

## Slide 28: SDN Concept by ITU [Rec. Y.3300]
SDN relocates the control of network resources to a dedicated network element, namely SDN controller, which provides a means to program, orchestrate, control and manage the network resources through software.

## Slide 29: NFV Introduction
Network Function Virtualization (NFV) is implementing network functions in software - that run today on proprietary hardware - leveraging (high volume) standard servers and ICT virtualization
Supports multi-versioning and multi-tenancy of network functions.
Allows use of a single physical platform for different applications, users and platforms
Enables new ways to implement resilience, service assurance, test, diagnostics and security surveillance
Facilitates innovation towards new network functions and services that are only practical in a pure software network environment

## Slide 30: NFV Introduction (2)
As an emerging technology, NFV brings several challenges to network operators, such as the guarantee of network performance for virtual appliances, their dynamic instantiation and migration, and their efficient placement.
While SDN is typically thought of as managing and automating tasks for physical devices, NFV is all about provisioning new networking devices.
  SDN may then be used to manage the new virtual as well as the existing physical devices.
Notes: How is NFV Different from SDN,
Rethinking relayering

## Slide 31: Defining NFV
NFV transforms how network operators architect their infrastructure by leveraging the full-blown virtualization technology to separate software instance from hardware platform, and by decoupling functionality from location for faster networking service provisioning.

## Slide 32: 5G + NV (NFV & SDN)
Source: View on 5G Architecture - 5G PPP Architecture Working Group

## Slide 33: THANK YOU!
Innovative Teaching Approaches in development of Software Designed Instrumentation and its application in real-time systems
Faculty of Physics,
Warsaw University of Technology
Zagreb University of
Applied Sciences
Faculty of Technical
Sciences,
University of Novi Sad
Faculty of Electrical Engineering
and Information Technologies,
Ss. Cyril and Methodius
University
School of Electrical
Engineering,
University of Belgrade