## Slide 1: Workshop – Video Acquisition, Processing and Data Acquisition
Innovative Teaching Approaches in development of Software Designed Instrumentation and its application in real-time systems
Faculty of Physics
Warsaw University of Technology
Zagreb University of
Applied Sciences
Faculty of Technical
Sciences
Ss. Cyril and Methodius
University
Faculty of Electrical Engineering
and Information Technologies
School of Electrical
Engineering
University of Belgrade

## Slide 2: Instructors
Tomislav Novak, mag. ing. inf. et comm. techn.
Ivan Lujo, dipl. ing. el.

## Slide 3
Intended for non-programmers
Graphical user interface
intuitive logic implementation
Dataflow
result is a program (virtual instrument) just like any other program
possibility of creating complex project
WHY LabVIEW?

## Slide 4
User interface
Front panel

## Slide 5
for functionality implementation
Block diagram

## Slide 6
one of the main applications of Labview environment
requires acquisition devices
  official devices can sometimes be too expensive for individual to start working in Labview
    cheaper:
      myDAQ
      myRIO
      NI USB
possibility to use third party acquisition devices
  LINX
  communication: serial, network, …
  real-time deployment
Data acquisition and analisys

## Slide 7
steps:
  Installing the MakerHub add-on for labview
  installing drivers for arduino board
  uploading firmware to the bord through Labview environement
LINX – Arduino

## Slide 8
pros:
  good set of libraries
    sometimes can also be a drawback
  cheap hardware
    ideal for:
      students home projects and learning Labview
      prototyping
cons:
  acquisition device - not a real-time system
    requires constant connection to the computer running Labview
  limitations when using libraries
  support stopped
LINX – Arduino: pros/cons

## Slide 9
steps:
  Installing Labview 2014 sp1, 32 bit
  Installing the MakerHub add-on for labview using VI package manager
  install Rasbian OS on Raspberry PI
    it is more likely to work with Rasbian Jessie (version from April 2017)
connection to the Raspberry PI
  Serial, network (WiFi, Ethernet cable)
  it is used to interact with the application in non-real time applications
  it is used to upload real-time application to the Raspberry PI
LINX – Raspberry PI

## Slide 10
Non real-time mode
  works similar as the Arduino bord
Real-time mode
  Labview runtime is installed on the Raspberry PI
LINX – Raspberry PI: modes

## Slide 11
creating a protocol for communication with the microcontroller
  Serial communication (NI-VISA)
  network communication (TCP/IP)
  …
Alternatives (1)

## Slide 12
Alternatives (2)